|  | RoHS |  |  | HF |  | REACH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | WORKING DISTANCE; OPTICAL MAGNIFICATION; 1.1”FIELD OF VIEW; 1.1" F2.4/16MM /20MEGA/C MOUNT. FOCAL LENGTH; f=16MM. MM; H; V. 5000; 0.003X; 4259.51; 3194.633; F.NO; F=1:2.4--16. 2000; 0.008X; 1718.121; 1288.59; FOCUS DISTANCE; 0.1M-- ∞. 1000; 0.016X; 870.896; 653.172. FLANGE BACK; 17.526mm IN AIR. 900; 0.018X; 786.159; 589.619. BACK FOCUS; 25.58. 800; 0.020X; 701.417; 526.062. 700; 0.023X; 616.665; 462.499; FILTER SCREW SIZE; M40.5*P0.5. 600; 0.026X; 531.902; 398.926; MOUNT; C. 500; 0.031X; 447.119; 335.339; REL.ILLUMINATION; ≥65%. 400; 0.039X; 362.303; 271.727. FrontΦ34.2 RearΦ16.2. 350; 0.044X; 319.876; 239.907. FIELD OF VIEW; SENSOR 1.1Ⅱ 1Ⅱ 2/3Ⅱ. 300; 0.051X; 277.427; 208.070. 250; 0.060X; 234.948; 176.211; D 55.7。 51.5。 36.9。. 200; 0.073X; 192.418; 144.313; H 46.1。 42.4。 30。. 150; 0.094X; 149.799; 112.35; V 35.5。 32.5。 22.7。. 100; 0.132X; 107.004; 80.253. TV DISTORTION <0.3% <0.2% <0.15% VG-BN1620A Image Surface Focus tightening screw x3 Light bar fastening screw x3 Appearance Standard; 60--40; 1.1” FIELD OF VIEW WORKING OPTICAL DISTANCE MAGNIFICATION. WORKING TEPMERATRUE; -40℃~80℃. STORAGE TEPMERATRUE; -40℃~85℃. |  |
|  | Common Tolerance |  |  |  |  |  |  |  |  |  |  |  |  |  | Material: / |  | ## |  |  |  |
|  | Angle | ±0.5° |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3RD_ANGLE_PROJN |  | Model: 1.1"-16mm-20M |  |  |  |
|  | 0.000 | ±0.01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Rev |  | Description |  |  |  | Name |  |  | Date |  |  |  |  |  |  |
|  | 0.00 | ±0.03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Design |  |  | Examine |  | Checked |  |  | Approved |  | Unit | mm | Part Name: VG-BN1620A SPEC |  |  |  |
|  | 0.0 | ±0.05 |  |  |  |  |  |  |  |  |  |  |  |  | Scale | 2:1 |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | CHKP |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Ver | 00 | Dwg No: VG-BN1620A |  |  |  |
|  | 0 | ±0.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date | 2021.10.10 |  |  |  |  |